BEST AVAILABLE TREATMENT TECHNOLOGIES APPLIED TO GROUNDWATER CIRCULATION WELLS

Andrew Curtis Elmore, Ph.D., P.E.

Assistant Professor, Department of Geological and Petroleum Engineering

University of Missouri – Rolla, Rolla, Missouri

Senior Engineer

URS Group, Inc.

Overland Park, Kansas

Thomas Graff, P.E.

Project Manager

Kansas City District Corps of Engineers, Kansas City, Missouri

Summary

Groundwater circulation wells (GCWs) are a quasi-in situ method for remediating groundwater in areas where remediation techniques that limit the water available for municipal, domestic, industrial, or agricultural purposes are inappropriate.  The inherently resource conservative nature of groundwater circulation wells is also  appealing in today’s culture which is supportive of green technologies.  Groundwater circulation wells involve the circulation of groundwater through a single dual screen well with treatment occurring in the path between the screens.  The wells are specifically designed so that one well screen draws in groundwater and the second returns the groundwater after is has been treated within the well.  Historically, GCW treatment has been performed with specialized equipment proprietary to GCW vendors.  Two full-scale pilot systems at a formerly used defense Superfund site in Nebraska used best available technologies for treatment components.  A multiple tray low profile air stripper typically used for pump and treat remediation systems was successfully adapted for the GCW pilot system located in a TCE hot spot.  An ultra-violet water disinfection system was successfully adapted for the GCW pilot system located in a hot spot contaminated with the explosive compound hexhydro-1,3,5-trinitro-1,3,5-triazine (RDX).  The pilot systems showed that GCW technology is competitive with a previously considered pump-and-treat alternative for focused extraction, and the regulatory community was supportive of additional GCW applications.  A remedial design for the site includes 12 more GCW systems to complete focused remediation requirements.