**Flow devices:**

Meriam 50MC2-2 Laminar flow element

Meriam 50MC2-4 Laminar flow element

Meriam 50MC2-6 Laminar flow element

Meriam 50MW20-1 Laminar flow element

Meriam 50MJ10-12 Laminar flow element

Flow Technology SLF-200 Ultrasonic meter

Flow Technology DC02I PD meter

Flow Technology FT 4-6HBxx-LEA-1 Turbine meter

Flow Technology FT-16HBxx-LEA-1 Turbine meter

Flow Technology FT-24HBxx-LEA-1 Turbine meter

Flow Technology FT-48HBxx-LEA-1 Turbine meter

Flow Technology FT-64HBxx-LEA-1 Turbine meter

Flow Technology FTO-5NINWULHC-1 Turbine meter

Blancett B175-S20 PD meter

Omega FV-602 Vortex meter

Omega FV-610 Vortex meter

Omega FMK-515-3P3 Paddlewheel flowmeter

Omega FP8501 Paddlewheel Flowmeter

Omega FP90-1 Flow Transmitter

Omega FP90IM Integral Mounting Kit

**Pressure Devices:**

Omega PX219-015G5V Gauge transducer

Omega PX219-030G5V Gauge transducer

Omega PX219-060G5V Gauge transducer

Omega PX219-100G5V Gauge transducer

Omega PX219-200G5V Gauge transducer

Omega PX219-015GI Gauge transducer

Omega PX219-030GI Gauge transducer

Omega PX219-060GI Gauge transducer

Omega PX219-100GI Gauge transducer

Omega PX219-200GI Gauge transducer

Omega PX219-015A5V Absolute transducer

Omega PX219-030A5V Absolute transducer

Omega PX219-060A5V Absolute transducer

Omega PX419-10WGV Gage transducer

Omega PX419-001GV Gage transducer

Omega PX419-2.5GV Gage transducer

Omega PX419-005GV Gage transducer

Omega PX419-10WCG5V Bi-Directional Gage Transducer

Omega PX419-001CG5V Bi-Directional Gage Transducer

Omega PX419-2.5CG5V Bi-Directional Gage Transducer

Omega PX419-005CG5V Bi-Directional Gage Transducer

Omega PX419-015CG5V Bi-Directional Gage Transducer

Omega PX138-0.3D5V Differential Transducer

Omega PX138-001 D5V Differential Transducer

Omega PX138-015D5V Differential Transducer

Omega PX2760-20A5V Barometric Pressure Transducer

Omega PX1009L0-050AV High Temperature Absolute Transducer

Omega PX1009L0-100AV High Temperature Absolute Transducer

Omega PX1009L0-250AV High Temperature Absolute Transducer

Honeywell P-30-P-AT Differential Pressure Transducer

Honeywell P-30-P-BJ Differential Pressure Transducer

Honeywell P-30-P-BN Differential Pressure Transducer

Honeywell KZ-AN Differential Pressure Transducer

Honeywell KZ-AP Differential Pressure Transducer

Honeywell KZ-AR Differential Pressure Transducer

Honeywell KZ-AT Differential Pressure Transducer

Honeywell KZ-AV Differential Pressure Transducer

PCB 101A Dynamic transducer

PCB 101A02 Dynamic transducer

PCB 100A02 Transducer Conditioner

**Temperature Devices:**

Omega KMQSS-032G-6 Thermocouple

Omega KMQSS-032U-6 Thermocouple

Omega KMQSS-125G-6 Thermocouple

Omega KMQSS-125U-6 Thermocouple

Omega TMQSS-032G-6 Thermocouple

Omega TMQSS-032U-6 Thermocouple

Omega TMQSS-125G-6 Thermocouple

Omega TMQSS-125U-6 Thermocouple

Omega PR-13-2-100-1/8-6-E RTD Probe

Omega TX86 Transmitter

**Data Acquisition Devices:**

NI USB-9219 Analog Input card

NI USB-9237 Bridge input card

NI USB-9211A TC Input Card

NI USB-6221 Multifunction Card

NI USB-6281 Multifunction Card