## Slide 1: Electricity & Magnetism
FE Review

## Slide 2
Voltage
Current
Power
1 V ≡ 1 J/C
1 J of work must be done to
move a 1-C charge through
a potential difference of 1V.

## Slide 3
Point Charge, Q
Experiences a force F=QE in the presence of electric field E
(E is a vector with units volts/meter)
Work done in moving Q within the E field
E field at distance r from charge Q in free space
Force on charge Q1 a distance r from Q
Work to move Q1 closer to Q

## Slide 4
Parallel Plate Capacitor
Electric Field between Plates
Q=charge on plate
A=area of plate
ε0=8.85x10-12 F/m
Potential difference (voltage) between the plates
Capacitance

## Slide 5
Resistivity
Example: Find the resistance of a 2-m copper wire if the wire has a diameter of 2 mm.

## Slide 6
Resistor
Power absorbed
Energy dissipated
Parallel Resistors
Series Resistors

## Slide 7
Capacitor
Stores Energy
Parallel Capacitors
Series Capacitors

## Slide 8
Inductor
Stores Energy
Parallel Inductors
Series Inductors

## Slide 9
KVL – Kirchhoff’s Voltage Law
The sum of the voltage drops around a closed path is zero.
KCL – Kirchhoff’s Current Law
The sum of the currents leaving a node is zero.
Voltage Divider
Current Divider

## Slide 10
Example: Find vx and vy and the power absorbed by the 6-Ω resistor.

## Slide 11
Node Voltage Analysis
Find the node voltages, v1 and v2
Look at voltage sources first
Node 1 is connected directly to ground by a voltage source → v1 = 10 V
All nodes not connected to a voltage source are KCL equations
↓
Node 2 is a KCL equation

## Slide 12
KCL at Node 2
v1 = 10 V
v2 = 6 V

## Slide 13
Mesh Current Analysis
Find the mesh currents i1 and i2 in the circuit
Look at current sources first
Mesh 2 has a current source in its outer branch
All meshes not containing current sources are KVL equations
KVL at Mesh 1
Find the power absorbed by the 4-Ω resistor

## Slide 14
RL Circuit
Put in some numbers
R = 2 Ω
L = 4 mH
vs(t) = 12 V
i(0) = 0 A

## Slide 15
RC Circuit
Put in some numbers
R = 2 Ω
C = 2 mF
vs(t) = 12 V
v(0) = 5V

## Slide 16
DC Steady-State
0
Short Circuit
i = constant
0
Open Circuit
v = constant

## Slide 17
Example:
Find the DC steady-state voltage, v, in the following circuit.

## Slide 18
Complex Arithmetic
Rectangular
Exponential
Polar
a+jb
Aejθ
A∠θ
Plot z=a+jb as an ordered pair on the real
and imaginary axes
Euler’s Identity
ejθ = cosθ + j sinθ
Complex Conjugate
(a+jb)* = a-jb
(A∠θ)* =
A∠-θ

## Slide 19
Complex Arithmetic
Addition
Multiplication
Division

## Slide 20
Phasors
A complex number representing a sinusoidal current or voltage.
Only for:
  Sinusoidal sources
  Steady-state
Impedance
A complex number that is the ratio of the phasor voltage and current.
units = ohms (Ω)
Admittance
units = Siemens (S)

## Slide 21
Phasors
Converting from sinusoid to phasor
Ohm’s Law for Phasors
Ohm’s Law
KVL
KCL
Current Divider
Voltage Divider
Mesh Current Analysis
Node Voltage Analysis

## Slide 22
Impedance

## Slide 23
Example: Find the steady-state output, v(t).

## Slide 24
Source Transformations
Thévenin Equivalent
Norton Equivalent
Two special cases

## Slide 25
Example: Find the steady-state voltage, vout(t)
-j1 Ω

## Slide 26
j1 Ω
j0.5 Ω

## Slide 27
50+j0.5 Ω
Thévenin Equivalent
No current flows through the impedance

## Slide 28
AC Power
Complex Power
units = VA (volt-amperes)
Average Power
a.k.a. “Active” or “Real” Power
units = W (watts)
Reactive Power
units = VAR
(volt-ampere reactive)
Power Factor
θ = impedance angle
leading or lagging
current is leading the voltage
θ<0
current is lagging the voltage
θ>0

## Slide 29
v(t) = 2000 cos(100t) V
Example:
Current, I
Power Factor
Complex Power Absorbed
Average Power Absorbed
P=13793 W

## Slide 30
Power Factor Correction
We want the power factor close to 1 to reduce the current.
Correct the power factor to 0.85 lagging
Add a capacitor in parallel with the load.
Total Complex Power

## Slide 31
S for an ideal capacitor
v(t) = 2000 cos(100t) V
Current after capacitor added
Without the capacitor

## Slide 32
RMS Current & Voltage
a.k.a. “Effective” current or voltage
RMS value of a sinusoid

## Slide 33
Balanced Three-Phase Systems
Y-connected
source
Y-connected
load
Phase Voltages
Line Currents
Line Voltages

## Slide 34
Balanced Three-Phase Systems
Phase Currents
Line Currents
Line Voltages
Δ-connected
source
Δ-connected
load

## Slide 35
Currents and Voltages are specified in RMS
S for peak
voltage
& current
S for RMS
voltage
& current
S for 3-phase
voltage
& current
Complex Power
for Y-connected load
Complex Power
for Δ-connected load
Average Power
Power Factor

## Slide 36
Example:
Find the total real power supplied by the source in the balanced wye-connected circuit
Given:
P=1620 W

## Slide 37
Ideal Operational Amplifier (Op Amp)
With negative feedback
i=0
Δv=0
Linear Amplifier
0
mV or μV reading from sensor
0-5 V output to A/D converter

## Slide 38
Magnetic Fields
B – magnetic flux density (tesla)
H – magnetic field strength (A/m)
J - current density
Net magnetic flux through
a closed surface is zero.
Magnetic Flux φ passing through a surface
Energy stored in the magnetic field
Enclosing a surface with N turns
of wire produces a voltage across
the terminals
Magnetic field produces a force perpendicular to
the current direction and the magnetic field direction

## Slide 39
Example:
A coaxial cable with an inner wire of radius 1 mm carries 10-A current. The outer
cylindrical conductor has a diameter of 10 mm and carries a 10-A uniformly
distributed current in the opposite direction. Determine the approximate magnetic
energy stored per unit length in this cable. Use μ0 for the permeablility of the
material between the wire and conductor.

## Slide 40
Example:
A cylindrical coil of wire has an air core and 1000 turns. It is 1 m long with
a diameter of 2 mm so has a relatively uniform field. Find the current
necessary to achieve a magnetic flux density of 2 T.

## Slide 41
Questions?